01 11 00 – UT SUMMARY

- General

  - work under this contract

    - A brief description of the Base Bid Work covered by the Contract Documents is provided below.  Alternates, if any, are described elsewhere.

    - The Work sequence required, if any, is provided below.

    - Phasing of the Work required, if any, is described in the table below. Commencement and completion requirements are stated elsewhere. “All” Work includes general mobilization, administration, demobilization, and other portions of the Work that are not otherwise assigned to a Phase.

| Phase Number | Phase Title | Description |
| --- | --- | --- |

  - work by others

    - Cooperate with other contractors or Owner's work crews for work on this project in the arrangement for storage of materials and in the detailed work of these separate contractors and notify the Designer immediately of lack of progress or defective work on their part where such delay or defective work will interfere with Contractor's own operations.

    - Work denoted as "Not in Contract" (N.I.C.) will be furnished and installed by the Owner or by others under separate contracts.  Contractor shall rough-in and make connections of mechanical and electrical services, if any, as required for work designated not in contract.

    - A brief description of work by others is provided below.

  - construction schedulING CONSULTANT

## The Owner does not intend to use a Construction Scheduling Consultant.

## The Owner intends to use a Construction Scheduling Consultant either as a consultant engaged by the Owner or as a Subcontractor to the Contractor under a specified allowance and selected by the Owner; the Contractor shall fully cooperate with the Construction Scheduling Consultant’s activities to produce a schedule for the Work and shall require the necessary forces assisting the Contractor to likewise fully cooperate; and, the Owner’s use of a Scheduling Consultant does not provide an express or implied guarantee or warranty regarding the suitability of derived schedules and the Contractor retains full responsibility for the suitability of schedules for Contractor activities and for conforming to them.

  - COmmissioning agent

## The Owner does not intend to use a Commissioning Agent.

## The Owner intends to use a Commissioning Agent either as a consultant engaged by the Owner or as a Subcontractor to the Contractor under a specified allowance and selected by the Owner.

  - SPECIAL restrictions

    - A brief description of work restrictions is provided below.

      - Access to site:

      - Coordination with occupants for disruptions in services and adjacent activities:

      - Use of the site by the Contractor for the Work including parking and staging and any required Owner and occupant continuing egress:

      - Restrictions on work hours:

  - project utilities

    - Water and electric power required for construction activities that will be provided to the Contractor from the Owner's utility system at no cost for consumption is described below:

    - Water and electric power required for construction activities that will be provided from utility companies and paid for by the Contractor is described below:

    - Temporary line connections to any line services of the Owner shall not be made without prior approval of the Owner.

    - The Contractor shall furnish and install all temporary piping and wiring and meters that may be required for the use of water and electric power, for construction purposes, and, upon completion of work, remove all temporary piping and wiring.  Temporary utility lines are not specifically shown on the drawings but shall be routed as required by conditions at the site.

    - Known existing utility lines that are to remain permanently or temporarily in service shall be carefully protected from damage or dislocation and any damage to these lines shall be repaired at no additional cost to the Owner.

    - The term "utility lines" shall be understood to include but not be limited to: water lines, gas lines, sanitary sewers, storm sewers, electric power lines, communication lines and appurtenances such as manholes, catch basins, fire hydrants, valves, junction boxes and switches.

    - Unknown underground utility lines:

      - In performing the Work, it is possible that unknown underground utility lines may be encountered.  Such lines may be lines that have been or will be abandoned, inactive lines that may be preserved for future use, or active lines that must be preserved and either relocated or replaced.

      - Should such unknown lines be encountered, immediately notify the Designer, who will examine the lines to determine whether they have been or will be abandoned, or shall be preserved.  The Contractor shall assist the Designer by making tests or otherwise as the Designer deems necessary to determine how best to dispose of them.

      - If the unknown lines have been or may be abandoned, remove them to the extent necessary, as determined by the Designer, without additional cost to the Owner.  If it is found desirable or necessary to preserve the lines, they shall be capped off, relocated or replaced, as directed by the Designer.  In general, this shall be done by the trades having jurisdiction, but all trades shall fully cooperate in such work.

      - Should relocation or replacement of unknown underground utility lines be required the Contract Conditions regarding Changes in the Work shall apply.

    - Equipment requiring a service connection from a utility supply such as electricity, steam, water, gas, etc. shall have the characteristics of the utility service required by the equipment confirmed prior to installation and purchase of the equipment.

  - COORDINATION OF WORK

    - The Contractor and subcontractors, particularly mechanical and electrical, shall review other sections of work applicable to their work and ascertain requirements in other sections applicable to their own work.  Each shall be held responsible for coordination and inclusion of the work indicated as if it were in the particular subcontractor's section.  The Designer shall be advised of any discrepancies or conflicts at the earliest moment.

    - Each subcontractor, supplier, etc. shall be responsible for knowing what information is given on all sheets of the plans and specifications concerning its particular work.  If an item or piece of work is shown on the architectural and not on the mechanical, electrical or structural drawings, it shall be interpreted that said item or piece of work is shown and included in the contract.  The reverse condition also shall apply.

  - MANMADE CONCEALED STRUCTURES

    - In performing the work, Contractor may encounter concealed manmade structures or conditions not revealed in the Contract Documents and not otherwise detectable by a reasonable inspection of the site or existing structures.  Such structures or conditions may have been abandoned or will be abandoned or, at the Owner's option, designated for preservation and future use.

    - Should such conditions or structures be encountered, the Contractor shall immediately notify the Designer, who will examine such conditions or structures and provide direction.

    - Should work be required to comply with the Designer’s instructions the Contract Conditions regarding Changes in the Work shall apply.

  - CONNECTION TO EXISTING WORK

    - Existing work shall be cut, altered, removed or temporarily removed and replaced as necessary for the performance of the Work.  New work in extension of existing work shall match that to which it connects.  Work to remain in place, which is damaged or defaced by reason of work performed under the Work, shall be restored equal to its condition at time of commencement of the Work.

    - All Work required in an existing building shall be performed carefully so as not to damage the Owner's finishes, furnishings, equipment and similar items.  Such items that cannot be temporarily removed from the areas of construction shall be adequately protected from damage.  The Contractor shall be responsible for any damage to the Owner's furniture, equipment or similar items resulting from the performance of this contract and shall repair or replace such damaged items to the satisfaction of the Owner at no additional cost.

END OF SECTION